public works department

SCHEDULED UTILITY OUTAGE INFORMATION & NOTIFICATION

UTILITY: power DISTRIBUTION

MAXIMO WORK ORDER: 11574624

REQUESTED BY: THE COX CONSTRUCTION COMPANY AND CACY ELECTRIC

poc: alfredo armenta 619-920-8894

UTILITY PROVIDING OUTAGE: pwd-elhv

|  |  |
| --- | --- |
| Date: Thursday, 24 JULY 2025 | HourS: 0800-1400 |

REASON FOR UTILITY OUTAGE: TO CORE DRILL AND INSTALL CONDUIT PATHWAY FOR FUTURE TIE-IN AT EXISTING ELECTRICAL TRANSFORMER 300 VA

NOTE: HOUSING WILL **NOT** BE AFFECTED.

|  |  |  |  |
| --- | --- | --- | --- |
| Facilities Affected | Organization Notified | Name of Individual  Notified | Date  Notified  (e-mail) |
| 210545 – army reserve center | 21 AREA FACILITY MANAGER | greg brooks | 16 JULY 2025 |
| 210546 - USARC MAINTENANCE BLDG | “ “ “ | “ “ “ | “ “ “ |

\*Please plan for and make appropriate accommodations or modify your service hours when and where applicable\*

NOTE: BUILDING IDENTIFIED AS HAVING GENERATORS MAY OR MAY NOT RUN DUE TO AIR POLLUTION CONTROL DISTRICT (APCD) PERMITTED REQUIREMENTS. EXCEPTIONS TO BE COORDINATED WITH PWD.